## CLPU
| Gas Day |  | Opening Linepack
| 2017-12-11 |  | 361.5
Run Time
| 5:00 | 12:00 |  | 18:00
Calculated Linepack minimum (MCM)
297.5
Applicable Hour
23:00
This report collates the hourly supply and demand flow notifications received from NTS connected sites to calculate the NTS linepack minimum value in MCM that would result from these flow profiles. Please note, connected parties update their notifications continually throughout the day; therefore, the report is accurate only at the point of publication. The report is published three times throughout the day (06:00, 12:30 and 18:30) and will reflect latest Linepack and revised supply and demand flow notifications received.

## Archive_Log
Run Time
|  | 5:00 |  | 12:00 |  | 18:00
Gas Day | Opening LinePack | Calc. LP | Ap. Hour | Calc. LP | Ap. Hour | Calc. LP | Ap. Hour
2017-10-02 | 337.7 | 318 | 23:00 | 322 | 22:00 | 327 | 22:00
2017-10-03 | 337.2 | 326 | 20:00 | 325 | 21:00 | 319 | 21:00
2017-10-04 | 337.3 | 330 | 22:00 | 322 | 21:00 | 323 | 21:00
2017-10-05 | 338.5 | 7968:00 | 22:00 | 7992:00 | 22:00 | 334 | 19:00
2017-10-06 | 342.7 | 342.7 | 5:00 | 339 | 20:00 | 331 | 21:00
2017-10-07 | 339.3 | 334.8 | 21:00 | 334.8 | 21:00 | 327 | 22:00
2017-10-08 | 339.4 | N/A | N/A | 328 | 12:00 | 329 | 21:00
2017-10-09 | 339.3 | 326 | 22:00 | 329 | 22:00 | 329 | 22:00
2017-10-10 | 340 | 340 | 5:00 | 340 | 5:00 | 340 | 5:00
2017-10-11 | 340 | 340 | 5:00 | 336 | 20:00 | 334 | 21:00
2017-10-12 | 339.4 | 339.4 | 5:00 | 338 | 12:00 | 330 | 22:00
2017-10-13 | 336.5 | 320 | 22:00 | 321 | 22:00 | 321 | 22:00
2017-10-14 | 335.8 | 322 | 22:00 | 317 | 22:00 | 322 | 20:00
2017-10-15 | 338.8 | 335 | 22:00 | 333 | 22:00 | 335 | 22:00
2017-10-16 | 344.5 | 336 | 22:00 | 340 | 19:00 | 334 | 20:00
2017-10-17 | 345.5 | 345 | 22:00 | 344 | 22:00 | 337 | 23:00
2017-10-18 | 343.3 | 343.3 | 5:00 | 333 | 22:00 | 334 | 22:00
2017-10-19 | 344.4 | 341 | 19:00 | 342 | 19:00 | 340 | 21:00
2017-10-20 | 344.7 | 323 | 22:00 | 328 | 21:00 | 329 | 20:00
2017-10-21 | 345.5 | 345.5 | 5:00 | 329 | 22:00 | 339 | 21:00
2017-10-22 | 348.5 | 336 | 22:00 | 347 | 22:00 | 341 | 22:00
2017-10-23 | 348.7 | 343 | 21:00 | 331 | 22:00 | 330 | 21:00
2017-10-24 | 348.5 | 324 | 22:00 | 331 | 22:00 | 333 | 21:00
2017-10-25 | 345.5 | 329 | 22:00 | 338 | 22:00 | 339 | 22:00
2017-10-26 | 345.5 | 347 | 21:00 | 337 | 22:00 | 337 | 22:00
2017-10-27 | 347.5 | 339.2 | 21:00 | 347 | 21:00 | 347.3 | 20:00
2017-10-28 | 346.8 | 332.4 | 20:00 | 328 | 22:00 | 328 | 22:00
2017-10-29 | 348.2 | 333 | 22:00 | 337 | 22:00 | 337 | 22:00
2017-10-30 | 352.6 | 345 | 21:00 | 352.6 | 12:00 | 337 | 22:00
2017-10-31 | 352.2 | 342 | 21:00 | 343 | 21:00 | 337 | 21:00
2017-11-01 | 352.4 | 352.4 | 5:00 | 352.4 | 5:00 | 352.4 | 5:00
2017-11-02 | 354.6 | 348 | 21:00 | 340 | 22:00 | 346 | 21:00
2017-11-03 | 354.5 | 350 | 20:00 | 347 | 20:00 | 343 | 22:00
2017-11-04 | 353.2 | 353.2 | 5:00 | 353.2 | 5:00 | 353.2 | 5:00
2017-11-05 | 360.9 | 360.9 | 5:00 | 353 | 22:00 | 352 | 22:00
2017-11-06 | 352.2 | 352 | 20:00 | 334 | 21:00 | 334 | 21:00
2017-11-07 | 347 | 341 | 21:00 | 338 | 21:00 | 335 | 21:00
2017-11-08 | 349.5 | 349.5 | 5:00 | 334 | 20:00 | 331 | 20:00
2017-11-09 | 346.3 | 337 | 21:00 | 337 | 21:00 | 336 | 21:00
2017-11-10 | 349 | 347 | 20:00 | N/A | N/A | 347 | 20:00
2017-11-11 | 350.6 | N/A | N/A | 334 | 21:00 | 334 | 21:00
2017-11-12 | 351.1 | 347 | 22:00 | 335 | 22:00 | 341 | 21:00
2017-11-13 | 350.2 | 343 | 20:00 | 328 | 21:00 | 329 | 21:00
2017-11-14 | 353.5 | 338 | 20:00 | 338 | 20:00 | 340 | 21:00
2017-11-15 | 355.7 | 354 | 19:00 | 347 | 20:00 | 347 | 20:00
2017-11-16 | 352 | 352 | 5:00 | 352 | 5:00 | 350 | 21:00
2017-11-17 | 352.2 | 337 | 21:00 | 341 | 20:00 | 351 | 20:00
2017-11-18 | 349.7 | 347.5 | 20:00 | 347.5 | 20:00 | 342 | 21:00
2017-11-19 | 352.3 | 338 | 21:00 | 336 | 21:00 | 338 | 21:00
2017-11-20 | 352.4 | 336 | 21:00 | 337 | 21:00 | 319 | 22:00
2017-11-21 | 354.9 | N/A | N/A | 347 | 20:00 | 346 | 20:00
2017-11-22 | 354.2 | 339 | 21:00 | N/A | N/A | 339 | 21:00
2017-11-23 | 353.6 | 351 | 21:00 | 347 | 21:00 | 340 | 21:00
2017-11-24 | 351.3 | 351.3 | 5:00 | N/A | N/A | 336 | 21:00
2017-11-25 | 350.7 | 349 | 20:00 | 347 | 21:00 | 338 | 22:00
2017-11-26 | 353.4 | 348 | 20:00 | 341 | 21:00 | 340 | 21:00
2017-11-27 | 352.7 | 352.7 | 5:00
2017-11-27 | 352.7 | 352.7 | 5:00 | 347.13 | 20:00
2017-11-27 | 352.7 | 352.7 | 5:00 | 347.13 | 20:00 | 339.9 | 22:00
2017-11-28 | 352.3 | 336.3 | 21:00
2017-11-28 | 352.3 | 336.3 | 21:00 | 332.06 | 21:00
2017-11-28 | 352.3 | 336.3 | 21:00 | 332.06 | 21:00 | 330.9 | 21:00
2017-11-29 | 356.6 | 345 | 21:00
2017-11-29 | 356.6 | 345 | 21:00 | 349 | 21:00
2017-11-29 | 356.6 | 345 | 21:00 | 349 | 21:00 | 343.4 | 21:00
2017-11-30 | 358.86 | 350.6 | 21:00
2017-11-30 | 358.86 | 350.6 | 21:00 | 344.8 | 20:00
2017-11-30 | 358.86 | 350.6 | 21:00 | 344.8 | 20:00 | 336.17 | 21:00
2017-12-01 | 358.02 | 325.5 | 22:00
2017-12-01 | 358.02 | 325.5 | 22:00
2017-12-01 | 358.02 | 325.5 | 22:00 | 323.6 | 21:00
2017-12-01 | 358.02 | 325.5 | 22:00 | 323.6 | 21:00 | 337 | 20:00
2017-12-02 | 358.29 | 347 | 21:00
2017-12-02 | 358.29 | 347 | 21:00 | 348 | 21:00
2017-12-02 | 358.29 | 347 | 21:00 | 348 | 21:00 | 348.7 | 21:00
2017-12-03 | 362.73 | 362.73 | 5:00
2017-12-03 | 362.73 | 362.73 | 5:00 | 366.08 | 5:00
2017-12-03 | 362.73 | 362.73 | 5:00 | 366.08 | 5:00 | 400.37 | 5:00
2017-12-04 | 358.7 | 357.48 | 20:00
2017-12-04 | 358.7 | 357.5 | 20:00 | 343 | 21:00
2017-12-04 | 358.7 | 357.5 | 20:00 | 343 | 21:00 | 356.6 | 20:00
2017-12-05 | 358.7 | 357.5 | 20:00 | 343 | 21:00 | 356.6 | 20:00
2017-12-05 | 359.2 | 341.9 | 21:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00 | 341.9 | 22:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00 | 341.9 | 22:00
2017-12-06 | 356.4 | 352.4 | 21:00
2017-12-06 | 356.4 | 352.4 | 21:00 | 343.9 | 22:00
2017-12-06 | 356.4 | 352.4 | 21:00 | 350.8 | 22:00 | 343.9 | 22:00
2017-12-07 | 358.6 | 344.31 | 22:00
2017-12-07 | 358.6 | 344.31 | 22:00 | 344.24 | 21:00
2017-12-07 | 358.6 | 344.31 | 22:00 | 344.24 | 21:00 | 342.1 | 23:00
2017-12-08 | 360.82 | 341.71 | 21:00
2017-12-08 | 360.82 | 341.71 | 21:00 | 345 | 20:00 | 359.05 | 20:00
2017-12-08 | 360.82 | 341.71 | 21:00 | 342.24 | 21:00 | 359.05 | 20:00
2017-12-09 | 359.63 | 342.9 | 21:00
2017-12-10 | 359.82 | 329.02 | 21:00
2017-12-11 | 361.5 | 297.5 | 23:00