## CLPU
| Gas Day |  | Opening Linepack
| 2018-02-25 |  | 365.11
Run Time
| 5:00 | 12:00 |  | 18:00
Calculated Linepack minimum (MCM)
| 365.11 | 356.55 |  | 360.3
| 5:00 | 21:00 |  | 20:00
This report collates the hourly supply and demand flow notifications received from NTS connected sites to calculate the NTS linepack minimum value in MCM that would result from these flow profiles. Please note, connected parties update their notifications continually throughout the day; therefore, the report is accurate only at the point of publication. The report is published three times throughout the day (06:00, 12:30 and 18:30) and will reflect latest Linepack and revised supply and demand flow notifications received.

## Archive_Log
Run Time
|  | 5:00 |  | 12:00 |  | 18:00
Gas Day | Opening LinePack | Calc. LP | Ap. Hour | Calc. LP | Ap. Hour | Calc. LP | Ap. Hour
2017-10-02 | 337.7 | 318 | 23:00 | 322 | 22:00 | 327 | 22:00
2017-10-03 | 337.2 | 326 | 20:00 | 325 | 21:00 | 319 | 21:00
2017-10-04 | 337.3 | 330 | 22:00 | 322 | 21:00 | 323 | 21:00
2017-10-05 | 338.5 | 7968:00 | 22:00 | 7992:00 | 22:00 | 334 | 19:00
2017-10-06 | 342.7 | 342.7 | 5:00 | 339 | 20:00 | 331 | 21:00
2017-10-07 | 339.3 | 334.8 | 21:00 | 334.8 | 21:00 | 327 | 22:00
2017-10-08 | 339.4 | N/A | N/A | 328 | 12:00 | 329 | 21:00
2017-10-09 | 339.3 | 326 | 22:00 | 329 | 22:00 | 329 | 22:00
2017-10-10 | 340 | 340 | 5:00 | 340 | 5:00 | 340 | 5:00
2017-10-11 | 340 | 340 | 5:00 | 336 | 20:00 | 334 | 21:00
2017-10-12 | 339.4 | 339.4 | 5:00 | 338 | 12:00 | 330 | 22:00
2017-10-13 | 336.5 | 320 | 22:00 | 321 | 22:00 | 321 | 22:00
2017-10-14 | 335.8 | 322 | 22:00 | 317 | 22:00 | 322 | 20:00
2017-10-15 | 338.8 | 335 | 22:00 | 333 | 22:00 | 335 | 22:00
2017-10-16 | 344.5 | 336 | 22:00 | 340 | 19:00 | 334 | 20:00
2017-10-17 | 345.5 | 345 | 22:00 | 344 | 22:00 | 337 | 23:00
2017-10-18 | 343.3 | 343.3 | 5:00 | 333 | 22:00 | 334 | 22:00
2017-10-19 | 344.4 | 341 | 19:00 | 342 | 19:00 | 340 | 21:00
2017-10-20 | 344.7 | 323 | 22:00 | 328 | 21:00 | 329 | 20:00
2017-10-21 | 345.5 | 345.5 | 5:00 | 329 | 22:00 | 339 | 21:00
2017-10-22 | 348.5 | 336 | 22:00 | 347 | 22:00 | 341 | 22:00
2017-10-23 | 348.7 | 343 | 21:00 | 331 | 22:00 | 330 | 21:00
2017-10-24 | 348.5 | 324 | 22:00 | 331 | 22:00 | 333 | 21:00
2017-10-25 | 345.5 | 329 | 22:00 | 338 | 22:00 | 339 | 22:00
2017-10-26 | 345.5 | 347 | 21:00 | 337 | 22:00 | 337 | 22:00
2017-10-27 | 347.5 | 339.2 | 21:00 | 347 | 21:00 | 347.3 | 20:00
2017-10-28 | 346.8 | 332.4 | 20:00 | 328 | 22:00 | 328 | 22:00
2017-10-29 | 348.2 | 333 | 22:00 | 337 | 22:00 | 337 | 22:00
2017-10-30 | 352.6 | 345 | 21:00 | 352.6 | 12:00 | 337 | 22:00
2017-10-31 | 352.2 | 342 | 21:00 | 343 | 21:00 | 337 | 21:00
2017-11-01 | 352.4 | 352.4 | 5:00 | 352.4 | 5:00 | 352.4 | 5:00
2017-11-02 | 354.6 | 348 | 21:00 | 340 | 22:00 | 346 | 21:00
2017-11-03 | 354.5 | 350 | 20:00 | 347 | 20:00 | 343 | 22:00
2017-11-04 | 353.2 | 353.2 | 5:00 | 353.2 | 5:00 | 353.2 | 5:00
2017-11-05 | 360.9 | 360.9 | 5:00 | 353 | 22:00 | 352 | 22:00
2017-11-06 | 352.2 | 352 | 20:00 | 334 | 21:00 | 334 | 21:00
2017-11-07 | 347 | 341 | 21:00 | 338 | 21:00 | 335 | 21:00
2017-11-08 | 349.5 | 349.5 | 5:00 | 334 | 20:00 | 331 | 20:00
2017-11-09 | 346.3 | 337 | 21:00 | 337 | 21:00 | 336 | 21:00
2017-11-10 | 349 | 347 | 20:00 | N/A | N/A | 347 | 20:00
2017-11-11 | 350.6 | N/A | N/A | 334 | 21:00 | 334 | 21:00
2017-11-12 | 351.1 | 347 | 22:00 | 335 | 22:00 | 341 | 21:00
2017-11-13 | 350.2 | 343 | 20:00 | 328 | 21:00 | 329 | 21:00
2017-11-14 | 353.5 | 338 | 20:00 | 338 | 20:00 | 340 | 21:00
2017-11-15 | 355.7 | 354 | 19:00 | 347 | 20:00 | 347 | 20:00
2017-11-16 | 352 | 352 | 5:00 | 352 | 5:00 | 350 | 21:00
2017-11-17 | 352.2 | 337 | 21:00 | 341 | 20:00 | 351 | 20:00
2017-11-18 | 349.7 | 347.5 | 20:00 | 347.5 | 20:00 | 342 | 21:00
2017-11-19 | 352.3 | 338 | 21:00 | 336 | 21:00 | 338 | 21:00
2017-11-20 | 352.4 | 336 | 21:00 | 337 | 21:00 | 319 | 22:00
2017-11-21 | 354.9 | N/A | N/A | 347 | 20:00 | 346 | 20:00
2017-11-22 | 354.2 | 339 | 21:00 | N/A | N/A | 339 | 21:00
2017-11-23 | 353.6 | 351 | 21:00 | 347 | 21:00 | 340 | 21:00
2017-11-24 | 351.3 | 351.3 | 5:00 | N/A | N/A | 336 | 21:00
2017-11-25 | 350.7 | 349 | 20:00 | 347 | 21:00 | 338 | 22:00
2017-11-26 | 353.4 | 348 | 20:00 | 341 | 21:00 | 340 | 21:00
2017-11-27 | 352.7 | 352.7 | 5:00
2017-11-27 | 352.7 | 352.7 | 5:00 | 347.13 | 20:00
2017-11-27 | 352.7 | 352.7 | 5:00 | 347.13 | 20:00 | 339.9 | 22:00
2017-11-28 | 352.3 | 336.3 | 21:00
2017-11-28 | 352.3 | 336.3 | 21:00 | 332.06 | 21:00
2017-11-28 | 352.3 | 336.3 | 21:00 | 332.06 | 21:00 | 330.9 | 21:00
2017-11-29 | 356.6 | 345 | 21:00
2017-11-29 | 356.6 | 345 | 21:00 | 349 | 21:00
2017-11-29 | 356.6 | 345 | 21:00 | 349 | 21:00 | 343.4 | 21:00
2017-11-30 | 358.86 | 350.6 | 21:00
2017-11-30 | 358.86 | 350.6 | 21:00 | 344.8 | 20:00
2017-11-30 | 358.86 | 350.6 | 21:00 | 344.8 | 20:00 | 336.17 | 21:00
2017-12-01 | 358.02 | 325.5 | 22:00
2017-12-01 | 358.02 | 325.5 | 22:00
2017-12-01 | 358.02 | 325.5 | 22:00 | 323.6 | 21:00
2017-12-01 | 358.02 | 325.5 | 22:00 | 323.6 | 21:00 | 337 | 20:00
2017-12-02 | 358.29 | 347 | 21:00
2017-12-02 | 358.29 | 347 | 21:00 | 348 | 21:00
2017-12-02 | 358.29 | 347 | 21:00 | 348 | 21:00 | 348.7 | 21:00
2017-12-03 | 362.73 | 362.73 | 5:00
2017-12-03 | 362.73 | 362.73 | 5:00 | 366.08 | 5:00
2017-12-03 | 362.73 | 362.73 | 5:00 | 366.08 | 5:00 | 400.37 | 5:00
2017-12-04 | 358.7 | 357.48 | 20:00
2017-12-04 | 358.7 | 357.5 | 20:00 | 343 | 21:00
2017-12-04 | 358.7 | 357.5 | 20:00 | 343 | 21:00 | 356.6 | 20:00
2017-12-05 | 358.7 | 357.5 | 20:00 | 343 | 21:00 | 356.6 | 20:00
2017-12-05 | 359.2 | 341.9 | 21:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00 | 341.9 | 22:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00 | 341.9 | 22:00
2017-12-06 | 356.4 | 352.4 | 21:00
2017-12-06 | 356.4 | 352.4 | 21:00 | 343.9 | 22:00
2017-12-06 | 356.4 | 352.4 | 21:00 | 350.8 | 22:00 | 343.9 | 22:00
2017-12-07 | 358.6 | 344.31 | 22:00
2017-12-07 | 358.6 | 344.31 | 22:00 | 344.24 | 21:00
2017-12-07 | 358.6 | 344.31 | 22:00 | 344.24 | 21:00 | 342.1 | 23:00
2017-12-08 | 360.82 | 341.71 | 21:00
2017-12-08 | 360.82 | 341.71 | 21:00 | 345 | 20:00 | 359.05 | 20:00
2017-12-08 | 360.82 | 341.71 | 21:00 | 342.24 | 21:00 | 359.05 | 20:00
2017-12-09 | 359.63 | 342.9 | 21:00
2017-12-09 | 359.63 | 342.9 | 21:00 | 338.6 | 22:00
2017-12-09 | 359.63 | 342.9 | 21:00 | 338.6 | 22:00 | 349.9 | 20:00
2017-12-10 | 359.82 | 329.02 | 21:00
2017-12-10 | 359.82 | 329.02 | 21:00 | 342.1 | 21:00
2017-12-10 | 359.82 | 329.02 | 21:00 | 342.1 | 21:00 | 342 | 21:00
2017-12-11 | 361.5 | 297.5 | 23:00
2017-12-11 | 361.5 | 297.5 | 23:00 | 327.6 | 22:00
2017-12-11 | 361.5 | 297.5 | 23:00 | 327.6 | 22:00 | 331.9 | 21:00
2017-12-12 | 361.5 | 347.4 | 21:00
2017-12-12 | 361.5 | 347.4 | 21:00 | 340 | 21:00
2017-12-12 | 361.5 | 347.4 | 21:00 | 340 | 21:00 | 332 | 21:00
2017-12-13 | 350.61 | 306.5 | 22:00
2017-12-13 | 350.61 | 306.5 | 22:00 | 320.7 | 22:00
2017-12-13 | 350.61 | 306.5 | 22:00 | 320.7 | 22:00 | 318.4 | 22:00
2017-12-14 | 360.35 | 356.9 | 20:00
2017-12-14 | 360.35 | 356.9 | 20:00 | 341.5 | 21:00
2017-12-14 | 360.35 | 356.9 | 20:00 | 341.5 | 21:00 | 342.49 | 21:00
2017-12-15 | 360.54 | 341 | 20:00
2017-12-15 | 360.54 | 341 | 20:00 | 345 | 21:00 | 345 | 21:00
2017-12-16 | 359.36 | 326.51 | 21:00
2017-12-17 | 358 | 349.76 | 21:00
2017-12-18 | 356.17 | 307.2 | 22:00
2017-12-18 | 356.17 | 307.2 | 22:00 | 323.3 | 21:00
2017-12-19 | 351.9 | 341 | 21:00
2017-12-19 | 351.9 | 341 | 21:00 | 342 | 20:00
2017-12-20 | 354.6 | 332.2 | 22:00
2017-12-20 | 354.6 | 332.2 | 22:00 | 332.17 | 22:00
2017-12-20 | 354.6 | 332.2 | 22:00 | 332.17 | 22:00 | 340.6 | 19:00
2017-12-21 | 354.6 | 347.6 | 21:00
2017-12-21 | 354.6 | 347.6 | 21:00 | 351.15 | 20:00
2017-12-21 | 357.2 | 347.6 | 21:00 | 351.15 | 20:00 | 347.8 | 20:00
2017-12-22 | 359.4 | 347 | 21:00
2017-12-22 | 359.4 | 347 | 21:00 | 346.9 | 20:00
2017-12-22 | 359.4 | 347 | 21:00 | 346.9 | 20:00 | 346.9 | 20:00
2017-12-23 | 360.7 |  |  |  |  | 343.6 | 22:00
2017-12-24 | 358.1 | 354.13 | 21:00
2017-12-24 | 358.1 | 354.13 | 21:00 | 349.1 | 22:00
2017-12-24 | 358.1 | 354.13 | 21:00 | 349.1 | 22:00 | 346.4 | 21:00
2017-12-25 | 359.93 | 343.23 | 22:00
2017-12-25 | 359.93 | 343.23 | 22:00 |  |  | 351.2 | 20:00
2017-12-26 | 362.75 | 326.8 | 22:00
2017-12-26 | 362.75 | 326.8 | 22:00 |  |  | 342 | 20:00
2017-12-27 | 360.73 | 335.03 | 21:00
2017-12-27 | 360.73 | 335.03 | 21:00 | 341.65 | 21:00
2017-12-28 | 357 | 335 | 21:00
2017-12-28 | 357 | 335 | 21:00 | 333.3 | 22:00
2017-12-29 | 357.3 | 352.8 | 22:00
2017-12-29 | 357.3 | 352.8 | 22:00 | 344.11 | 22:00
2017-12-29 | 357.3 | 352.8 | 22:00 | 344.11 | 22:00 | 341.77 | 21:00
2017-12-30 | 352.8 | 340.22 | 21:00
2017-12-30 | 352.8 | 340.22 | 21:00 | 331.6 | 21:00
2017-12-30 | 352.8 | 340.22 | 21:00 | 331.6 | 21:00 | 333.76 | 21:00
2017-12-31 | 352.7 | 347.7 | 21:00
2018-01-01 | 354.2 |  |  | 358 | 5:00
2018-01-02 | 358.98 | 358.98 | 5:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-03 | 358.97 | 358.97 | 5:00
2018-01-03 | 358.97 | 358.97 | 5:00 | 353.4 | 20:00
2018-01-04 | 359.37 | 341.52 | 21:00
2018-01-05 | 357.62 | 357.6 | 5:00
2018-01-05 | 357.62 | 357.6 | 5:00 | 349.9 | 21:00
2018-01-05 | 357.62 | 357.6 | 5:00 | 349.9 | 21:00 | 341 | 21:00
2018-01-06 | 357 | 357 | 20:00
2018-01-06 | 357 | 357 | 20:00 | 352.3 | 20:00
2018-01-06 | 357 | 357 | 20:00 | 352.3 | 20:00 | 347.6 | 21:00
2018-01-06 | 357 | 357 | 20:00 | 352.3 | 20:00 | 347.6 | 21:00
2018-01-07 | 353.3 | 333.7 | 21:00
2018-01-07 | 353.3 | 333.7 | 21:00 | 320.8 | 21:00
2018-01-07 | 353.3 | 333.7 | 21:00 | 320.8 | 21:00 | 326.7 | 21:00
2018-01-08 | 355.8 | 348.6 | 20:00
2018-01-08 | 355.8 | 348.6 | 20:00 | 341.3 | 21:00
2018-01-08 | 355.8 | 348.6 | 20:00 | 341.3 | 21:00 | 336.8 | 21:00
2018-01-09 | 355.2 | 344.26 | 21:00
2018-01-09 | 355.2 | 344.26 | 21:00 | 338.5 | 21:00
2018-01-09 | 355.2 | 344.26 | 21:00 | 338.5 | 21:00 | 339.7 | 21:00
2018-01-10 | 353.9 | 345.66 | 21:00
2018-01-11 | 356.2 | 345.01 | 21:00
2018-01-12 | 354.76 | 344.9 | 22:00
2018-01-12 | 354.76 | 344.9 | 22:00 | 345.8 | 19:00
2018-01-13 | 354.76 | 344.9 | 22:00 | 355.96 | 20:00
2018-01-13 | 354.76 | 344.9 | 22:00 | 355.96 | 20:00 | 355.9 | 20:00
2018-01-14 | 355.33 | 343.9 | 20:00
2018-01-14 | 355.33 | 343.9 | 20:00 | 343.9 | 20:00
2018-01-14 | 355.33 | 343.9 | 20:00 | 343.9 | 20:00 | 339.6 | 21:00
2018-01-15 | 352.14 | 346.46 | 20:00
2018-01-15 | 352.14 | 346.46 | 20:00 |  |  | 356.5 | 21:00
2018-01-15 | 352.14 | 346.46 | 20:00 | 356.5 | 21:00 | 356.5 | 21:00
2018-01-16 | 350.27 | 351.75 | 20:00
2018-01-16 | 350.27 | 351.75 | 20:00 | 343.3 | 22:00
2018-01-16 | 350.27 | 351.75 | 20:00 | 343.3 | 22:00 | 336.8 | 21:00
2018-01-17 | 347.89 | 338.03 | 21:00
2018-01-17 | 347.89 | 338.03 | 21:00 | 337.5 | 21:00
2018-01-17 | 347.89 | 338.03 | 21:00 | 337.5 | 21:00 | 332.9 | 21:00
2018-01-18 | 348.3 | 316.5 | 21:00
2018-01-18 | 348.3 | 316.5 | 21:00 | 332.01 | 22:00
2018-01-18 | 348.3 | 316.5 | 21:00 | 332.01 | 22:00 | 332.7 | 22:00
2018-01-19 | 348.3 | 329.8 | 21:00
2018-01-19 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00
2018-01-19 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00 | 335.08 | 21:00
2018-01-20 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00 | 335.08 | 21:00
2018-01-20 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00 | 335.08 | 21:00
2018-01-20 | 350.12 | 326.89 | 22:00
2018-01-20 | 350.12 | 326.89 | 22:00 | 334.48 | 21:00
2018-01-20 | 350.12 | 326.89 | 22:00 | 334.48 | 21:00 | 331.2 | 22:00
2018-01-21 | 350.93 | 350.93 | 22:00
2018-01-22 | 351.4 | 333.1 | 22:00
2018-01-22 | 351.4 | 333.1 | 22:00 | 323.7 | 21:00
2018-01-22 | 351.4 | 333.1 | 22:00 | 323.7 | 21:00 | 332 | 21:00
2018-01-23 | 347.9 | 347.5 | 19:00
2018-01-23 | 347.9 | 347.5 | 19:00 | 332 | 21:00
2018-01-23 | 347.9 | 347.5 | 19:00 | 332 | 21:00 | 333.95 | 21:00
2018-01-24 | 347.9 | 344.5 | 20:00
2018-01-24 | 347.9 | 344.5 | 20:00 | 338.7 | 21:00
2018-01-24 | 344.1 | 344.5 | 20:00 | 338.7 | 21:00
2018-01-24 | 344.1 | 344.5 | 20:00 | 338.7 | 21:00 | 333.6 | 21:00
2018-01-25 | 349.37 | 338.9 | 21:00
2018-01-25 | 349.37 | 338.9 | 21:00
2018-01-25 | 349.37 | 338.9 | 21:00 | 332.6 | 22:00
2018-01-25 | 349.37 | 338.9 | 21:00 | 332.6 | 22:00 | 331.3 | 22:00
2018-01-26 | 353.04 | 340.34 | 21:00
2018-01-26 | 353.04 | 340.34 | 21:00 | 337.9 | 22:00
2018-01-26 | 353.04 | 340.34 | 21:00 | 337.9 | 22:00 | 336.6 | 22:00
2018-01-27 | 353.04 | 340.34 | 21:00 | 337.9 | 22:00 | 336.6 | 22:00
2018-01-27 | 353.04 | 340.65 | 21:00
2018-01-27 | 352.74 | 340.65 | 21:00
2018-01-27 | 352.74 | 340.65 | 21:00
2018-01-27 | 352.74 | 340.65 | 21:00 | 340.65 | 21:00 | 330.79 | 21:00
2018-01-28 | 349.87 | 351.8 | 5:00
2018-01-28 | 349.87 | 351.8 | 5:00 | 344.1 | 20:00
2018-01-28 | 349.87 | 351.8 | 5:00 | 344.1 | 20:00 | 343.6 | 20:00
2018-01-29 | 349.5 | 343.61 | 20:00
2018-01-30 | 351.1 | 335.8 | 20:00
2018-01-30 | 351.1 | 335.8 | 20:00 | 334.26 | 21:00
2018-01-31 | 350.4 | 350.8 | 20:00
2018-01-31 | 350.4 | 350.8 | 20:00 | 350.5 | 5:00
2018-01-31 | 350.4 | 350.8 | 20:00 | 350.4 | 5:00
2018-01-31 | 350.4 | 350.8 | 20:00 | 350.4 | 5:00 | 341.81 | 21:00
2018-02-01 | 350.4 | 342.57 | 21:00
2018-02-01 | 350.4 | 342.57 | 21:00 | 351.9 | 21:00
2018-02-01 | 350.4 | 342.57 | 21:00 | 351.9 | 21:00 | 339 | 21:00
2018-02-02 | 350.4 | 335.9 | 21:00
2018-02-02 | 350.4 | 335.9 | 21:00 |  |  | 335.9 | 21:00
2018-02-02 | 350.4 | 335.9 | 21:00 | 335.9 | 21:00 | 335.9 | 21:00
2018-02-03 | 356.5 | 349.9 | 20:00
2018-02-04 | 357.08 | 354.45 | 20:00
2018-02-05 | 355.84 | 349.9 | 21:00
2018-02-06 | 353.78 | 350.16 | 20:00
2018-02-07 | 351.5 | 346.56 | 21:00
2018-02-07 | 351.5 | 346.56 | 21:00 | 340.9 | 21:00
2018-02-07 | 351.5 | 346.56 | 21:00 | 340.9 | 21:00 | 338.9 | 21:00
2018-02-08 | 351.4 | 350.1 | 21:00
2018-02-08 | 351.4 | 350.1 | 21:00 | 326.3 | 21:00
2018-02-08 | 351.4 | 350.1 | 21:00 | 326.3 | 21:00 | 327.1 | 21:00
2018-02-09 | 354.4 | 332.4 | 22:00
2018-02-09 | 354.4 | 332.4 | 22:00 | 337.5 | 21:00
2018-02-10 | 353.77 | 333.7 | 22:00 | 329.4 | 22:00
2018-02-10 | 353.77 | 333.7 | 22:00 | 329.4 | 22:00 | 324.1 | 22:00
2018-02-11 | 355.5 | 342.7 | 21:00
2018-02-11 | 355.5 | 342.7 | 21:00 | 348.8 | 21:00
2018-02-11 | 355.5 | 342.7 | 21:00 | 348.8 | 21:00 | 348.8 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00
2018-02-12 | 358.1 | 335.5 | 20:00 |  |  | 332.54 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00 |  |  | 332.54 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00 |  |  | 332.54 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00 | 333 | 21:00 | 332.54 | 21:00
2018-02-13 | 356.29 | 351 | 21:00
2018-02-13 | 356.29 | 351 | 21:00 | 342.4 | 21:00
2018-02-13 | 356.29 | 351 | 21:00 | 342.4 | 21:00 | 335.95 | 22:00
2018-02-14 | 356.1 | 347.9 | 22:00
2018-02-15 | 353.6 | 345.7 | 21:00
2018-02-15 | 353.6 | 345.7 | 21:00 |  |  | 346.6 | 21:00
2018-02-16 | 352.81 | 343.3 | 21:00
2018-02-16 | 352.81 | 343.3 | 21:00 | 324.9 | 22:00
2018-02-16 | 352.81 | 343.3 | 21:00 | 324.9 | 22:00 | 337 | 20:00
2018-02-17 | 351.95 | 345.9 | 21:00
2018-02-17 | 351.95 | 345.9 | 21:00 | 344 | 21:00
2018-02-17 | 351.95 | 345.9 | 21:00 | 344 | 21:00 | 340.5 | 21:00
2018-02-18 | 354.1 | 356.4 | 5:00
2018-02-18 | 354.1 | 356.4 | 5:00 | 351 | 21:00 | 342 | 22:00
2018-02-19 | 355.2 | 355.41 | 20:00
2018-02-19 | 355.2 | 355.41 | 20:00 | 342.27 | 21:00
2018-02-19 | 355.2 | 355.41 | 20:00 | 342.27 | 21:00 | 330 | 21:00
2018-02-20 | 356.7 | 330.9 | 21:00
2018-02-20 | 356.7 | 330.9 | 21:00 | 353.61 | 21:00
2018-02-20 | 356.7 | 330.9 | 21:00 | 353.61 | 21:00 | 349 | 22:00
2018-02-21 | 356.6 | 359.01 | 6:00
2018-02-21 | 356.6 | 359.01 | 6:00 |  |  | 347.06 | 22:00
2018-02-21 | 356.6 | 359.01 | 6:00 | 349.2 | 21:00 | 347.06 | 22:00
2018-02-22 | 357.7 | 356 | 21:00
2018-02-22 | 357.7 | 356 | 21:00 | 350.2 | 21:00 | 344.6 | 22:00
2018-02-23 | 358.7 | 358.7 | 5:00
2018-02-23 | 358.7 | 358.7 | 5:00 | 360.7 | 5:00
2018-02-24 | 367.21 | 367.21 | 5:00
2018-02-24 | 367.21 | 367.21 | 5:00 |  |  | 370.1 | 5:00
2018-02-24 | 367.21 | 367.21 | 5:00 | 368 | 5:00 | 370.1 | 5:00
2018-02-25 | 365.11 | 365.11 | 5:00
2018-02-25 | 365.11 | 365.11 | 5:00 | 356.55 | 21:00
2018-02-25 | 365.11 | 365.11 | 5:00 | 356.55 | 21:00 | 360.3 | 20:00